## Parts list
Sample job - E301 Power & comms layout, lower ground floor (Sparkcount sample)
Real drawing, counted by the software. Counts not yet checked by a person.
Qty | Description | Evidence | Status
22 | SINGLE PHASE IP56 POWER OUTLET, 20A (ESSENTIAL / NON-ESSENTIAL / UPS) UNO - drawn alike; which one is set by its circuit, not the symbol | drawn symbol | counted
14 | DOUBLE 10A GPO (ESSENTIAL / NON-ESSENTIAL / UPS) UNO - drawn alike; which one is set by its circuit, not the symbol | drawn symbol | counted
7 | THREE PHASE PERMANENT CONNECTION C/W FULL CURRENT | drawn symbol | counted
6 | SINGLE 10A GPO (ESSENTIAL SERVICES / NON-ESSENTIAL / UPS SERVICES) UNO - drawn alike; which one is set by its circuit, not the symbol | drawn symbol | counted
3 | DISTRIBUTION BOARD | drawn symbol | counted
2 | FLOOR BOX CONTAINING (ECD FBIP4SQF); [FB3] | printed type code FB3 | counted
8 | LED WALL WASHER, TRACK MOUNTED [D1.1] | drawn symbol | needs a check
7 | DUAL-GANG 8P8C (RJ45) COMMUNICATIONS OUTLET | drawn symbol | needs a check
1 | WIRELESS ACCESS POINT | printed type code CM WAP | needs a check
1 | CONTROL PANEL | printed type code CONTROL PANEL | needs a check
| Possibly missed: double 10a gpo non-essential uno | AI self-check flagged 1 - not counted | check by hand
| Possibly missed: three phase permanent connection c/w full current | AI self-check flagged 4 - not counted | check by hand
| Possibly missed: single phase permanent connection c/w full current | AI self-check flagged 1 - not counted | check by hand